## BOM
TAGS | QTY | CATALOG | DESCRIPTION | MANUFACTURER
ENC | 2 | SCE-48XEL1612SSLP | WALL MOUNT ENCLOSURE - NEMA 4X | SCE
ENC | 2 | SCE-48P16 | ENCLOSURE BACKPANEL | SCE
ENC | 2 | SCE-ELMFK4SS6-OS | STAINLESS STEEL WALL MOUNT FOOT KIT | SCE
DISC | 2 | 9422A2 | FLANGE MOUNTED DISCONNECT HANDLE - NEMA 4X | SQUARE D
DISC | 2 | 9422CSB30 | CABLE OPERATED DISCONNECT MECHANISM | SQUARE D
ETM | 2 | 722-0001 | ELAPSED TIME METER | TRUMETER
ETM | 2 | 5003-010 | GASKET, RECTANGULAR, 2-HOLE | TRUMETER
LT0330 | 2 | 9001SKT38LGG31 | PTT LIGHT, 120VAC LED, GREEN | SCHNEIDER ELECTRIC
LT0335 | 2 | 9001SKT38LRR31 | PTT LIGHT, 120VAC LED, RED | SCHNEIDER ELECTRIC
LT0402, LT0410, LT0411 | 6 | 9001SKT38LYA31 | PTT LIGHT, 120VAC LED, AMBER | SCHNEIDER ELECTRIC
PB0310 | 2 | 9001SKR1B | PUSHBUTTON, BLACK | SCHNEIDER ELECTRIC
PB0310 | 2 | 9001KA2 | 1 NO CONTACT | SCHNEIDER ELECTRIC
PB0310 | 4 | 9001KA3 | 1 NC CONTACT | SCHNEIDER ELECTRIC
SS0321 | 2 | 9001SKS43BH2 | 3 POSITION SWITCH, BLACK | SCHNEIDER ELECTRIC
T0315 | 2 | 9070TF150D1 | CPT-480/120V, 150VA | SQUARE D
CB0301 | 2 | BDL36030 | MAIN CIRCUIT BREAKER, 30A | SQUARE D
CB0319 | 2 | 9926251002 | CIRCUIT BREAKER, 120VAC, 2A | WEIDMULLER
CR0324, CR0332, CR0336, CR0401 | 8 | RXM2AB2F7 | MINIATURE RELAY, 120VAC, 8 BLADE | SCHNEIDER ELECTRIC
CR0324, CR0332, CR0336, CR0401 | 8 | RXZE2M114 | RELAY SOCKET, 120VAC, 8 BLADE, DIN | SCHNEIDER ELECTRIC
FU0315B | 2 | ATMR2 | FUSE, FAST ACTING, 2A | MERSEN
FU0315, FU0315A | 4 | ATQR8/10 | FUSE, TIME DELAY, 0.8A | MERSEN
FU0304, FU0304A, FU0305, FU0305A | 8 | ATMR1/2 | FUSE, FAST ACTING, 0.5A | MERSEN
FU0408 | 2 | GGM6/10 | FAST BLOW FUSE, 0.6A | MERSEN
FU0408 | 2 | 3046100 | FUSE TERMINAL BLOCK, 120VAC | PHOENIX CONTACT
BLOCK | 2 | 30324R | CLASS CC FUSE BLOCK, 4 POLES | MERSEN
RVSS | 2 | ATS490D17Y | REDUCED VOLTAGE SOFT STARTER | SCHNEIDER ELECTRIC
PWS0306 | 2 | 48250501 | MODBUS POWER METER | SOCOMEC
PWS0306 | 2 | 48290230 | DIN RAIL MOUNTING KIT | SOCOMEC
PWS0306 | 6 | 48290555 | SPLIT CORE TR-10 SENSOR, 25-63A | SOCOMEC
PWS0306 | 2 | 48290584 | RJ12 CONNECTION CABLE, 3 COUNT | SOCOMEC
TR0316, TR0405 | 4 | 9050JCK13V20 | TIMING RELAY, 0-60 SEC, 120VAC, 8 PIN OCTAL, DPDT | SQUARE D
TR0316, TR0405 | 4 | 8501NR51 | RELAY SOCKET, 120VAC, 8 PIN OCTAL, DIN | SQUARE D
TR0409, TR0411 | 4 | 9050JCK23V20 | TIMING RELAY, 0-60 SEC, 120VAC, 11 PIN, DPDT | SQUARE D
TR0409, TR0411 | 4 | 8501NR61 | RELAY SOCKET, 120VAC, 11 PIN OCTAL, DIN | SQUARE D
MPR0408 | 2 | 14-407129 | PUMP MONITORING RELAY | FLYGT
HTR0319 | 2 | SCE-TSH50 | ENCLOSURE HEATER | SCE
THERMOSTAT | 2 | 7T.81.0.000.2403 | ENCLOSURE HEATER THERMOSTAT, NC | FINDER
TB-AC | 40 | 3044076 | UNIVERSAL TERMINAL BLOCK - UT 2,5 | PHOENIX CONTACT
TB-AC | A/R | D-UT 2,5 / 10 | TERMINAL END BARRIER | PHOENIX CONTACT
TB-AC | A/R | UT 2,5-PE | GROUNDING TERMINAL BLOCK | PHOENIX CONTACT
TB-AC | A/R | E/NS 35 N | TERMINAL ANCHOR | PHOENIX CONTACT