## BOM
TAGS | QTY | CATALOG | DESCRIPTION | MANUFACTURER
ENC | 1 | SCE-30H2416SSLP | WALL MOUNT ENCLOSURE - NEMA 4X | SCE
ENC | 1 | SCE-30P24 | ENCLOSURE BACKPANEL | SCE
CB3203 | 1 | 7940102572 | CIRCUIT BREAKER, 120VAC, 2A | WEIDMULLER
CB3203A | 1 | 7940102584 | CIRCUIT BREAKER, 120VAC, 20A | WEIDMULLER
CB3204, CB3211 | 2 | 7940102582 | CIRCUIT BREAKER, 120VAC, 15A | WEIDMULLER
RECP3204 | 1 | T5015-W | SINGLE RECEPTACLE, 15A | LEVITON
CR3213 | 1 | RPM42F7 | RELAY, SP4T, 120VAC, 15A | SCHNEIDER ELECTRIC
CR3213 | 1 | RPZF4 | RELAY SOCKET, 120VAC, 14 BLADE, DIN | SCHNEIDER ELECTRIC
UPS | 1 | SRT1000XLA | UNINTERRUPTIBLE POWER SUPPLY | APC
UPS | 1 | AP9614 | DRY CONTACT I/O CARD | APC
BP | 1 | SRT48BP | UPS EXTERNAL BATTERY PACK | APC
THERMOSTAT | 1 | 7T.81.0.000.2403 | ENCLOSURE HEATER THERMOSTAT, NC | FINDER
HTR3203 | 1 | SCE-TSH50 | ENCLOSURE HEATER | SCE
TB-AC, TB-UPS | 12 | 3044076 | UNIVERSAL TERMINAL BLOCK - UT 2,5 | PHOENIX CONTACT
TB-AC, TB-UPS | A/R | 3047028 | TERMINAL END BARRIER | PHOENIX CONTACT
TB-AC, TB-UPS | A/R | 3044092 | GROUNDING TERMINAL BLOCK | PHOENIX CONTACT
TB-AC, TB-UPS | A/R | 800886 | TERMINAL ANCHOR | PHOENIX CONTACT