## BOM
TAGS | QTY | CATALOG | DESCRIPTION | MANUFACTURER
ENC | 1 | SCE-24H2010SS6LP | WALL MOUNT ENCLOSURE - NEMA 4X | SCE
ENC | 1 | SCE-24P20 | ENCLOSURE BACKPANEL | SCE
LT4203 | 1 | 9001SKT38LWW31 | PTT LIGHT, 120VAC LED, WHITE | SCHNEIDER ELECTRIC
LT4307, LT4311 | 2 | 9001SKT38LYA31 | PTT LIGHT, 120VAC LED, AMBER | SCHNEIDER ELECTRIC
PB4306 | 1 | 9001SKR1B | PUSHBUTTON, BLACK | SCHNEIDER ELECTRIC
PB4306 | 1 | 9001KA3 | 1 NC CONTACT | SCHNEIDER ELECTRIC
CB4202 | 1 | 7940102575 | CIRCUIT BREAKER, 120VAC, 5A | WEIDMULLER
CB4202A | 1 | 7940125379 | CIRCUIT BREAKER, 120VAC, 1A | WEIDMULLER
CR4301 | 1 | RXM3AB2F7 | MINIATURE RELAY, 120VAC, 11 BLADE | SCHNEIDER ELECTRIC
CR4301 | 1 | RXZE2S111M | MINIATURE RELAY SOCKET, 120VAC, DIN | SCHNEIDER ELECTRIC
CR4209, CR4210, CR4223, CR4225, CR4226, CR4306, CR4310, CR4316, CR4317 | 9 | RXM2AB2F7 | MINIATURE RELAY, 120VAC, 8 BLADE | SCHNEIDER ELECTRIC
CR4209, CR4210, CR4223, CR4225, CR4226, CR4306, CR4310, CR4316, CR4317 | 9 | RXZE2M114 | MINIATURE RELAY SOCKET, 120VAC, DIN | SCHNEIDER ELECTRIC
TR4224 | 1 | 9050JCK16V20 | TIMING RELAY, 0-10 MIN, 120VAC, 8 PIN OCTAL, DPDT | SQUARE D
TR4224 | 1 | 8501NR1 | TIMING RELAY, 120VAC, DIN | SQUARE D
ISR4206, ISR4220 | 2 | ISO-120-AAE | INTRINSICALLY SAFE RELAY | DIVERSIFIED
AR4315 | 1 | D851LA | ALTERNATING RELAY | EATON
AR4315 | 1 | D3PA2 | ALTERNATING RELAY SOCKET | EATON
HTR4202 | 1 | SCE-TSH25 | ENCLOSURE HEATER | SCE
THERMOSTAT | 1 | 7T.81.0.000.2403 | ENCLOSURE HEATER THERMOSTAT, NC | FINDER
TB-AC | 22 | 3044076 | UNIVERSAL TERMINAL BLOCK - UT 2,5 | PHOENIX CONTACT
TB-AC | A/R | 3047028 | TERMINAL END BARRIER | PHOENIX CONTACT
TB-AC | A/R | 3044092 | GROUNDING TERMINAL BLOCK | PHOENIX CONTACT
TB-AC | A/R | 800886 | TERMINAL ANCHOR | PHOENIX CONTACT